| Basic Information |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Product Category |  | High Bay |  | Product Name |  | Module Hight Bay Lamp |  |
| Product Code |  | DS-BY-50W |  | Applicable Safety Standards |  | GB-7000.1 |  |
| Fixture Picture |  |  |  |  |  |  |  |
| Fixture Structure Size |  |  |  |  |  |  |  |
| Technical Specifications |  |  |  |  |  |  |  |
| Fixture Parameters | Size |  | H215*Φ200mm |  | Housing Materials |  | Aluminium Alloy+PBT |
|  | Net Weight |  | 2.3Kg |  | Appearance Color |  | White |
|  | Whole Lamp IP |  | IP65 |  | Packing Specification |  | 1PCS/ Carton |
|  | Installation Mode |  | E40 lamp holder |  |  |  |  |
| Light Source Parameters | LED Brand |  | DSBJ |  | LED Type | DS-COB |  |
|  | LED Q.T.Y. |  | 3PCS |  | LED Color Temperature | 5500~6000 |  |
|  | LED CRI |  | ＞70 |  | LED Lifespan (L70) | ＞30000H |  |
| Optical Parameters | Light Distribution Type |  | Cone |  | Extraction Mode | Twice Symmetrical |  |
|  | Total Light Flux |  | ＞4250 lm |  | Optical Efficiency of the Whole Lamp | ＞85 lm/w |  |
|  | CRI |  | ≥70 |  | CCT of the Whole Lamp | 5700K±300K |  |
| Electricity Parameters | Power(W) |  | 50W |  |  |  |  |
|  | Input Voltage |  | 100~240V |  |  |  |  |
|  | Input Voltage Frequency |  | 50/60Hz |  |  |  |  |
|  | Input Current |  | <1A |  |  |  |  |
|  | Power Factor |  | ＞0.9 |  |  |  |  |
| Other Parameters | Applicable Temperature /Humidity |  | -20~55℃/≤95%RH |  | Storage Temperature /Humidity | -25～60℃/≤95%RH |  |
|  | Level of Electric Protection |  | Ⅱ |  | Driver Location | Rear-mounted |  |

Note：Size Specification Tolerance±5mm

Weight Specification Tolerance±0.5 Kg

Light Distribution Curve

Effective Average Illumination

| Producer | DXT | Verifier | TOM | Date | Nov.23,2012 |
| --- | --- | --- | --- | --- | --- |